## Data Entry
Master Job Number |  | {{Job Number} | Total Lot Qty | {{Total Quantity}} | Date Inspected | CMD A.L00.00.C aprevo ALIF Rev22
Part Number |  |  | Traveler # |  | Customer Lot #
{{Item 1}} |  |  |  |  | {{Lot Number}}
{{Item 2}} |  |  |  |  | {{Lot Number}}
{{Item 3}} |  |  |  |  | {{Lot Number}}
{{Item 4}} |  |  |  |  | {{Lot Number}}
{{Item 5}} |  |  |  |  | {{Lot Number}}
{{Item 6}} |  |  |  |  | {{Lot Number}}
{{Item 7}} |  |  |  |  | {{Lot Number}}
{{Item 8}} |  |  |  |  | {{Lot Number}}
{{Item 9}} |  |  |  |  | {{Lot Number}}
{{Item 10}} |  |  |  |  | {{Lot Number}}
{{Item 11}} |  |  |  |  | {{Lot Number}}
{{Item 12 }} |  |  |  |  | {{Lot Number}}
{{Item 13}} |  |  |  |  | {{Lot Number}}
{{Item 14}} |  |  |  |  | {{Lot Number}}
{{Item 15}} |  |  |  |  | {{Lot Number}}
{{Item 16}} |  |  |  |  | {{Lot Number}}
{{Item 17}} |  |  |  |  | {{Lot Number}}
{{Item 18}} |  |  |  |  | {{Lot Number}}
{{Item 19}} |  |  |  |  | {{Lot Number}}
{{Item 20}} |  |  |  |  | {{Lot Number}}
{{Item 21}} |  |  |  |  | {{Lot Number}}
Notes: * Final Process Tolerances are 0.001" (0.03mm) tighter on each side than the drawing to compensate for any measurement variation during future measurements. * Use Page One for data entry. Go to the Page Two 'Conv Tables' to enter the nominal measurement dimension per CMD provided Form-019 * Record the full Part Numbers below such as A.L34.01.C, A.L45.02.C & A.L51.03.C.
Line # | Part Number | Dim C Implant Height (mm) | Dim B AP Depth (mm) |  | Dim A ML Width (mm)
1
2
3
4
5
6
7
8
9
Delta-to-Target "Spec" Limits (+/- mm) |  | 0.5 | 0.5 |  | 0.5
Line # | Part Number | Dim C Implant Height (mm) | Dim B AP Depth (mm) |  | Dim A ML Width (mm)
1 | 0 | #N/A | #N/A |  | #N/A
2 | 0 | #N/A | #N/A |  | #N/A
3 | 0 | #N/A | #N/A |  | #N/A
4 | 0 | #N/A | #N/A |  | #N/A
5 | 0 | #N/A | #N/A |  | #N/A
6 | 0 | #N/A | #N/A |  | #N/A
7 | 0 | #N/A | #N/A |  | #N/A
8 | 0 | #N/A | #N/A |  | #N/A
9 | 0 | #N/A | #N/A |  | #N/A
_________________________________________________________________________________________
Inspected by:
Form/Template Revision History:
Rev | DCO # | Effective Date | Description of Change
Q | 25-056 | 2025-05-05 | Update per drawing Rev 22, removal of the second signature, removal of the measurements for non-critical dimensions, removal of the warning limits
P | 25-012 | 2025-01-31 | Updated to drawing Rev 21 (no inspection changes).
N | 24-072 | 2024-10-28 | Updated part number references to include ".C".
M | 24-068 | 17Oct2024 | Updated to Rev 20.
L | 24-016 | 2024-03-14 | Update to Rev 19, update company name to SpiTrex 3D.
K | 23-059 | 2023-08-10 | ALIF Update to Rev 18; Thread dimesnion changed from M5 to M4; add M4L cage feature and inspection criteria
J | 23-057 | 2023-07-13 | Update to Rev 17, no dimensional changes.
H | 23-012 | 2023-03-06 | Drawing revision to Rev 16 (no dimensional change). Reformatted form
G | 22-059 | 2022-08-30 | Add CMD Revision 14

## Conv Tables
Part # | Dim C Implant Height | Dim B AP Depth | Dim A ML Width
A.L12.01.C
A.L12.02.C
A.L12.03.C
A.L23.01.C
A.L23.02.C
A.L23.03.C
A.L34.01.C
A.L34.02.C
A.L34.03.C
A.L45.01.C
A.L45.02.C
A.L45.03.C
A.L51.01.C
A.L51.02.C
A.L51.03.C
A.L56.01.C
A.L56.02.C
A.L56.03.C
A.L61.01.C
A.L61.02.C
A.L61.03.C