## Data Entry
Master Job # | {{Job Number}} | Total Part Qty | {{Total Quantity}} | Date Inspected |  | Top Level Engineering Specification | CMD-D.L00.00.C "aprevo ALIF-X" Rev 15
Part Number |  | Lot Number |  | Traveler # |  | Notes (NCR, etc)
{{Item 1}} |  | {{Lot Number}}
{{Item 2}} |  | {{Lot Number}}
{{Item 3}} |  | {{Lot Number}}
{{Item 4}} |  | {{Lot Number}}
{{Item 5}} |  | {{Lot Number}}
{{Item 6}} |  | {{Lot Number}}
{{Item 7}} |  | {{Lot Number}}
{{Item 8}} |  | {{Lot Number}}
{{Item 9}} |  | {{Lot Number}}
{{Item 10}} |  | {{Lot Number}}
{{Item 11}} |  | {{Lot Number}}
{{Item 12}} |  | {{Lot Number}}
{{Item 13}} |  | {{Lot Number}}
{{Item 14}} |  | {{Lot Number}}
{{Item 15}} |  | {{Lot Number}}
{{Item 16}} |  | {{Lot Number}}
{{Item 17}} |  | {{Lot Number}}
{{Item 18}} |  | {{Lot Number}}
{{Item 19}} |  | {{Lot Number}}
{{Item 20}} |  | {{Lot Number}}
{{Item 21}} |  | {{Lot Number}}
Notes: * Bracketed Italics are recommendations to help make the data entry more consistent. Remove bracketed statements, rows and/or replace any placeholders (such at [x]) with "Upright Text" as appropriate. * Get the Random Part # Sampling Plan from QA prior to entering the Measurement Data. Max ten (10) different part numbers without Random # Tab adjustment. * Final Process Tolerances are 0.001" (0.03mm) tighter on each side than the drawing to compensate for any measurement variation during future measurements. * * All AQL sampled parts meet acceptance criteria or 100% inspection is required. * Adjust naming of dimension measurements as needed. * Adjust Row 5 as necessary. * Adjust number of rows below if neccesary. * Use Page One for data entry. Go to the Page Two to confirm that all measurments are within the Delta-to-Target (DtT) Process Control Limits. * Record the full Part Numbers below such as D.L12.01.C, D.L34.02.C, D.L56.03.C.
Line # | Part Number | DimA | DimB | DimC | Right Cam Minor | Left Cam Minor | Ø4.70 Thread Pin
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
Delta-to-Target "Spec" Limits (+/- inches) |  | 0.5 | 0.5 | 0.5 | 0.15 | 0.15 | 0.1
Line # | Full Part # | DimA | DimB | DimC | Right Cam Minor | Left Cam Minor | Ø4.70 Thread Pin
1 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
4 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
5 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
6 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
7 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
8 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
9 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
10 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
11 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
12 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
13 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
14 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
15 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
16 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
17 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
18 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
19 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
20 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
21 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
__________________________________________________________________________________________
Inspected by:
Form/Template Revision History:
Rev | DCO # | Effective Date |  | Description of Change
L | 25-056 | 2025-05-22 |  | Updated to drawing Rev 15 (no dimensional changes), removal of the second signature, removal of warning limits
K | 25-012 | 2025-01-31 |  | Updated to drawing Rev 14 (no inspection changes).
J | 24-072 | 2024-10-28 |  | Updated part number references to include ".C".
I | 24-068 | 2024-10-17 |  | Rev 13 drawing update.
H | 24-024 | 2024-03-28 |  | Rev 12 drawing update.
G | 24-006 | 2024-03-14 |  | Rev 11 drawing update. Removal of Left (THRU), Center (THRU), Right (THRU), Left, Center, and Right measurements.
F | 23-082 | 2023-11-30 |  | Rev 10 update; no impact to inspection criteria; update company name
E | 23-058 | 2023-07-24 |  | Rev 9 update; ALIF-X will now have 2 orientations (1 screw up / 2 screws down) & (2 screws up / 1 screw down); Thread change from M5 to M4; Thread change from M5 to M4; Cam Assy clearance

## Conv Tables
Adjust tables below to align with the Customer Drawings
These tables are for sample measurements. Not needed for 100% Inspection or a Single Part
Part # | DimA | DimB | DimC | Right Cam Minor | Left Cam Minor | Ø4.70 Thread Pin
D.L12.01.C |  |  |  | 3.4 | 3.4 | 4.7
D.L12.02.C |  |  |  | 3.4 | 3.4 | 4.7
D.L12.03.C |  |  |  | 3.4 | 3.4 | 4.7
D.L23.01.C |  |  |  | 3.4 | 3.4 | 4.7
D.L23.02.C |  |  |  | 3.4 | 3.4 | 4.7
D.L23.03.C |  |  |  | 3.4 | 3.4 | 4.7
D.L34.01.C |  |  |  | 3.4 | 3.4 | 4.7
D.L34.02.C |  |  |  | 3.4 | 3.4 | 4.7
D.L34.03.C |  |  |  | 3.4 | 3.4 | 4.7
D.L45.01.C |  |  |  | 3.4 | 3.4 | 4.7
D.L45.02.C |  |  |  | 3.4 | 3.4 | 4.7
D.L45.03.C |  |  |  | 3.4 | 3.4 | 4.7
D.L51.01.C |  |  |  | 3.4 | 3.4 | 4.7
D.L51.02.C |  |  |  | 3.4 | 3.4 | 4.7
D.L51.03.C |  |  |  | 3.4 | 3.4 | 4.7
D.L56.01.C |  |  |  | 3.4 | 3.4 | 4.7
D.L56.02.C |  |  |  | 3.4 | 3.4 | 4.7
D.L56.03.C |  |  |  | 3.4 | 3.4 | 4.7
D.L61.01.C |  |  |  | 3.4 | 3.4 | 4.7
D.L61.02.C |  |  |  | 3.4 | 3.4 | 4.7
D.L61.03.C |  |  |  | 3.4 | 3.4 | 4.7